## Slide 1: Evaluation
Algorithm Candidates
Alg. Candidates
Simulation Tests
Calibrated Animal Tests
Alg. Cand
Clinical Example Tests
GREIT
Currently working here
Divide into
- Image quality params
- Noise parameters

## Slide 2: Image quality parameters
Amplitude
Total over image
Quarter Amplitude Set
rtarget
simulation
target
Centre of gravity
Position
Error
Calculate
from blob area
Shape
deformation
Resolution
Match blob to equal area circle
Ringing
Amplitude of
Inverted image
area
Target to blob centre

## Slide 3: Noise performance parameters
Data frame
(background)
Difference Data
v2 – v1
Data Noise
Measurements
Recon- struct
Images
Noisy
Image
Parameters
Noise Figure – noise amplification in algorithm
Sources of noise: 1. Random (Gaussian)
2. Phantom (Hahn et al, 08)

## Slide 4: Example Reconstructions
 | Sheffield Backproj | GN (norm) | GN (diff)
Image |  |  | 
¼ max |  |  | 
Simulated Position
Artefacts give large posn error
Very simple algs. Early tests
Shape deform
Ringing

## Slide 5: Example Parameters
 | Sheffield Backproj | GN (norm)
Posn Error Want: small |  | 
Resolution Want: small |  | 
Ringing Want: small |  | 
Electrode effects in backproj
Strange position behaviour
Discretization FEM effect
Bproj has less
ringing

## Slide 6: GREIT: Proposal
Type of signal | Input signal (difference meas) | Desired Output (reconstructed image)
Target positions | Sk = vk – vhomg | Dk = imgk
Noise Simulated (Gaussian) or measured noise from unchanging medium | Nk = vn – vhomg Vn is a signal with noise | 0 Desired output for noise is zero
Movement Simulated (Gaussian) or measured noise from deforming medium | Mk = vm – vhomg Vm is a signal with movement | 0 Desired output for movement is zero
Simulated
(or phatom)
small targets
k
k+1
k+2
Circular image
At 20% radius
0 here

## Slide 7: GREIT: Proposal
Define inputs: Y = [ S, knN, kmM ] outputs: X = [ D, 0, 0 ]
  kn, km define noise/movement amplitude. Increasing value will make R more robust
Reconstruction matrix R is designed to approximate: X = RY
Calculation: R = X Yt (Y Yt)–1

## Slide 8: Example Reconstructions
Radial Posn (%) | Sheffield Backproj | GN (norm diff) | GREIT (norm diff)
79% |  |  | 
59% |  |  | 
4% |  |  | 
Advantages
shape stays very constant with radial position

## Slide 9
Perform. Tests | Sheffield Backproj | GN (norm diff) | GREIT (norm diff)
Amplitude (want: uniform) |  |  | 
Posn Error (want: uniform, small) |  |  | 
Resolution (want: uniform, small) |  |  | 
Shp.Deform (want: uniform, small) |  |  | 
Ringing (want: uniform, small) |  |  | 
Noise Ampli (want: uniform, small) |  |  | 

## Slide 10: Comments
Advantage of this approach:
  We only need consensus on the figures or merit. GREIT is defined in terms of figures.
  In general, shows a significant improvement over backprojection and other algorithms
Improvements possible:
  Define weighting region for each image (like a filter design problem)
Amplitude
Possible
solution allowed
by the criteria

## Slide 11: Work plan
Algorithm Candidates
Alg. Candidates
Simulation Tests
Calibrated Animal Tests
Alg. Cand
Clinical Example Tests
GREIT
Done: July 2008
GREIT Proposal: Sep 2008
- Improvements possible
- Discussion required
Plan: early Oct 2008
Plan: early Oct 2008
Required (in Oct 2008)
- FEM models of adults and infants
- Discussion and testing of GREIT proposals
Required (in Nov 2008)
- Paper draft (begin Nov)
- Final paper (Nov 30)