SYSC5104 (ELG6187B)

Methodologies for Discrete-Event Modeling and Simulation

City Water Supply System

Laurentiu Checiu

#3515592

University of Ottawa

Introduction

I would like to model and simulate a simple water supply system in a small city. The main components would be the pump station and the water supply (wells, but could be a river or a lake…)

1. Pump Station

The pump station is consisted of following:

- Electrical pumps (2 or more)

- Buffer water tank (reservoir)

The water comes from water wells into buffer tank(s) and then the water is pumped into the city water system. The most important parameters in the pump station are:

- Electrical power supply ( present or not)

- Water level in the buffer tank

- Water flow on the outgoing pipe ( from pump station to the city)

- Water flow on the incoming pipe ( from wells to pump station – actually reservoir)

- Start/stop commands for the pumps

The operator starts or stops one or several electrical pumps trying to keep the flow on the outgoing pipe at a certain level, according to water consumption in the city at that moment.

2. Water Supply

Water supply to the pump station is done by pumping the water from several wells. Important parameters are:

- Electrical pump – on/off

- Command start/stop the pump, command which is sent by operator in the pump station

This is the hierarchy diagram:

City Water Supply System

Pump Station

Water Supply - Wells

Pumps

Buffer Tank

What if the water supply is not available for a period of time? Or there is no water in the buffer tank? These are the question that I would like to get an answer after a simulation.

Buffer Tank (reservoir)

Flow from wells

Flow  from pump station

level

Low level

- Qws = water flow coming from water supply: maximum 500 l/s – input value in the atomic model

- Qps = water flow going to pumps: maximum 400 l/s – input value in the atomic model

- Buffer tank capacity is about 5000 m3;

- maximum level is 5m

If level is below 0.5m you’ll get an alarm low level signal and stop the pumps. We need one more parameter:

- alarm low level;

This one should be an output from the atomic model of the buffer tank.

You can fill up the whole reservoir in 2h45min with water flow of 500l/s ( 5000/0.5 = 10,000s)

Formal Specifications

The formal specification <S, X, Y, δint, δext, λ, ta> for this atomic model is defined as follows:

S = {passive, active}

X = {q_in, qp_in, }

Y = {level_out, low_level_out}

δint (active) = passive

δext (q_in, passive) = active

δext (q_in, active) = active

δext (qp_in, passive) = active

δext (qp_in, active) = active

δext

{

if q_in				// flow from wells – water supply

{

compute accumulated 	volume		// flow x period of time

}

if qp_in			// flow from pump station

{

compute consumed volume

}

level = volume / surface

if level < alarm_level

set low_level

}

λ(active)

{

Send level to level_out port;

Send low level to low_level_out port

}

ta(passive) = INFINITY

ta(active) = preparation_time

Pumps

We can define following I/O parameters for defining of an atomic model of a pump:

- Electrical power – available or not – input parameter;

- Water level in the buffer tank – input;

- Start command – it can stay on only a certain period of time – input parameter;

- Stop command – it can stay on only a certain period of time – input parameter;

- Pump status – on/off – output parameter;

- Water flow to the city – output parameter

A pump can start only if the level in the buffer tank is above 0.5m, and, obviously, there is electrical power.

power

level

start

stop

flow out

state

Pi

Formal Specifications

The formal specification <S, X, Y, δint, δext, λ, ta> for this atomic model is defined as follows:

S = {passive, active}

X = {power_in, level_in, start_in, stop_in}

Y = {flow_out, state_out}

δint (active) = passive

δext (power_in, passive) = active

δext (power_in, active) = active

δext (level_in, passive) = active

δext (level_in, active) = active

δext (start_in, passive) = active

δext (start_in, active) = active

δext (stop_in, passive) = active

δext (stop_in, active) = active

δext

{

if  power_in

{

set power

}

if  level_in

{

level = value ;				// is used as pre-condition when start the pump

}

if low_level_in

{

set low_level ;

stop pump;

reset flow;

}

if  start_in

{

if (level > alarm_level ) and (power)

{

start_pump;

}

update_flow

}

if stop_in

{

stop_pump;

update_flow;

}

}

λ(active)

{

Send flow to flow_out port;

Send state to state_out port;

}

ta(passive) = INFINITY

ta(active) = active_time

Water Supply – Wells

Water supply consists of several water wells with an electrical pump, pumping water to the buffer tank. The maximum water flow coming from water wells is 500l/s. To model water well we can use a simplified model of a pump from pump station:

- Start command – it can stay on only a certain period of time – input parameter;

- Stop command – it can stay on only a certain period of time – input parameter;

- Water flow to the pump station – output parameter

start

stop

flow out

wPi

Formal Specifications

The formal specification <S, X, Y, δint, δext, λ, ta> for this atomic model is defined as follows:

S = {passive, active}

X = {in}

Y = {out}

δint (active) = passive

δext (start_in, passive) = active

δext (start_in, active) = active

δext (stop_in, passive) = active

δext (stop_in, active) = active

δext

{

if  start_in

{

if (level > alarm_level ) and (power)

{

start_pump;

}

update_flow

}

if stop_in

{

stop_pump;

update_flow;

}

}

λ(active)

{

Send flow to flow_out port

}

ta(passive) = INFINITY

ta(active) = preparation_time

The formal specifications <X, Y, D, {Mi}, {Ii}, {Zij}, SELECT > for the coupled models Pumps, Pump Station, Water Wells and City Water Supply are defined as follows:

Pumps:

X = {start_in1, start_in2, stop_in1, stop_in2,power_in, low_level_in, level};

Y = {flow_out,state1, state2 };

D = {pump1, pump2};

I(pump1) = self;

I(pump2) = self;

Z(pump1) = self;

Z(pump2) = self;

SELECT: 	({pump1, pump2}) = pump1;

Pump station:

X = {power, start1,stop1,start2,stop2,flow_from_wells};

Y = {state1, state2, flow_out, level};

D = {pump1, pump2, reservoir};

I(pump1) = {reservoir, self};

I(pump2) = {reservoir, self};

I(reservoir) = {pump1,self};

I(reservoir) = {pump2,self};

Z(pump1) = reservoir; Z(pump1) = self;

Z(pump2) = reservoir; Z(pump2) = self;

Z(reservoir) = pump1; Z(reservoir) = self;

Z(reservoir) = pump2; Z(reservoir) = self;

SELECT:	({pump1, pump2, reservoir }) = reservoir;

({pump1, pump2}) = pump1;

power

start

stop

flow out

State1

P1

power

level

start

stop

flow out

State2

P2

power

Start1

Stop1

Start2

Stop2

res

Flow from wells

flow out

State1

State2

Low level

level

Water Wells:

X = { wstart1,wstop1,wstart2,wstop2};

Y = {flow_out};

D = {wpump1, wpump2};

I(wpump1) = self;

I(wpump2) = self;

Z(wpump1) = self;

Z(wpump2) = self;

SELECT:	({wpump1,wpump2}) = wpump1;

Start1

Stop1

flow out

wP1

Start2

Stop2

flow out

wP2

flow out

City Water Supply:

X = { wstart1,wstop1,wstart2,wstop2, start1,stop1,start2,stop2, power_in};

Y = { flow_out,state_out1,state_out2,level};

D = {pump_station,water_wells};

I(water_wells) = pump_station;

I(pump_station) = self;

I(receiver) = {Network};

Z(water_wells) = pump_station;

Z(pump_station) = self;

SELECT:	({pump_station, water_wells }) = water_wells;

power

start

stop

flow out

State1

P1

power

level

start

stop

flow out

State2

P2

power

Start1

Stop1

Start2

Stop2

res

Flow from wells

flow out

State1

State2

Low level

level

wStart1

wStop1

flow out

wP1

wStart2

wStop2

flow out

wP2

flow out

Test Strategies

The atomic models and coupled models are tested using the “black box” testing method. Test cases are created by adding different combinations of inputs to the event file (.ev), run the simulation and check whether the outputs in the output file (.out) are what we expected.

# Reservoir

Let’s take following events for reservoir:

00:00:30:00 q_in 375.0

00:00:31:00 qp_in 250.0

00:01:00:00 q_in 380.0

00:01:01:00 qp_in 250.0

00:01:30:00 q_in 400.0

00:01:31:00 qp_in 250.0

q_in = flow from water wells

qp_in = flow from pump station

The result follows:

00:00:32:000 level_out 1.0035

00:00:32:000 low_level_out 0

00:01:02:000 level_out 1.0074

00:01:02:000 low_level_out 0

00:01:32:000 level_out 1.0119

00:01:32:000 low_level_out 0

If the wells don’t work at all:

00:00:00:01 qp_in 1000.0

00:00:30:01 qp_in 1000.0

00:01:00:01 qp_in 1000.0

00:01:30:01 qp_in 1000.0

…

00:14:30:01 qp_in 1000.0

00:15:00:01 qp_in 1000.0

00:15:30:01 qp_in 1000.0

we have following result:

00:00:01:001 level_out 1

00:00:01:001 low_level_out 0

00:00:31:001 level_out 0.97

00:00:31:001 low_level_out 0

00:01:01:001 level_out 0.94

00:01:01:001 low_level_out 0

…

00:08:01:001 level_out 0.52

00:08:01:001 low_level_out 0

00:08:31:001 level_out 0.49

00:08:31:001 low_level_out 1

00:09:01:001 level_out 0.46

00:09:01:001 low_level_out 1

00:09:31:001 level_out 0.43

00:09:31:001 low_level_out 1

the level in the reservoir decreases as expected and after it becomes lower than alarm level (0.5m) the low_level_out is activated.

## Pump Station

Given the following event file where we start both pumps:

00:00:00:50 power_in 1

00:00:30:00 start_in1 1

00:01:00:00 start_in2 1

We get following results:

00:00:40:000 flow_out 250

00:00:40:000 state_out1 1

00:00:41:000 level 0.99

00:00:51:000 flow_out 250

00:00:51:000 state_out1 1

00:00:51:000 flow_out 250

00:00:51:000 state_out2 0

00:00:52:000 level 0.98725

00:01:02:000 flow_out 450		=> second pump has been started flow increases and the level decreases.

00:01:02:000 state_out1 1

00:01:03:000 level 0.9823

00:01:13:000 flow_out 450

00:01:13:000 state_out1 1

00:01:13:000 flow_out 450

00:01:13:000 state_out2 1

00:01:14:000 level 0.97735

00:01:24:000 flow_out 450

…

00:19:00:000 flow_out 450

00:19:00:000 state_out2 1

00:19:01:000 level 0.497199

When level becomes less than alarm level, the pumps are stopped and the simulation ends.

## City Water Supply

The events are only commands to the pumps (and electrical power):

00:00:00:50 power_in 1

00:00:02:00 wstart_in1 1

00:00:30:00 start_in1 1

00:01:00:00 start_in2 1

00:02:02:00 wstart_in2 1

00:04:00:00 stop_in2 1

The results are:

…

00:02:33:001 flow_out 475

00:02:33:001 state_out2 1

00:02:34:001 level 0.9771

00:02:43:001 level 0.98085

00:02:53:001 flow_out 475

00:02:53:001 state_out1 1

00:02:53:001 flow_out 475

00:02:53:001 state_out2 1

…

00:03:53:001 flow_out 475

00:03:53:001 state_out2 1

00:03:54:001 level 0.9691

00:04:03:001 level 0.97285

00:04:13:001 flow_out 250

00:04:13:001 state_out1 1

00:04:13:001 flow_out 250

00:04:13:001 state_out2 0

00:04:14:001 level 0.9716

00:04:23:001 level 0.97535

00:04:33:001 flow_out 250

00:04:33:001 state_out1 1

00:04:33:001 flow_out 250

00:04:33:001 state_out2 0

00:04:34:001 level 0.9741

00:04:43:001 level 0.97785

It is important to provide a time limit for city_water model because you may end up with huge . log and .out files.

In conclusion, the simulation works as desired.