## Slide 1: Fast Temporal Reconstruction for EIT
Andy Adler1, William R.B. Lionheart2
1Systems and Computer Engineering, Carleton University, Ottawa, Canada 2School of Mathematics, University of Manchester, U.K.

## Slide 2: Motivation
One good thing about EIT is that the data collection is fast
Frame rates up to 1000 fps
Traditionally, EIT uses frame by frame image reconstruction
It should be possible to use the temporal information to improve the images

## Slide 3: Image Reconstruction
Forward Model (linearized)
=
×
Measurements
(difference)
Image
(difference)
Jacobian
System is underdetermined
+ noise

## Slide 4: Image Reconstruction
Inverse Model (linearized)
–
×
Norm weighted by
measurement
accuracy
+
Penalty
Function
2

## Slide 5: Image Reconstruction
Penalty Functions
–
Zero for
Difference EIT
=
Penalty
Function
Expected
image
Norm weighted by
“unlikelyhood” of image
2

## Slide 6: Image Reconstruction
Penalty functions: Image Amplitude
–
Expected
image
1
1
1
1
1
1
Tikhonov prior
2

## Slide 7: Image Reconstruction
Penalty functions: Image Smoothness
–
Expected
image
1
1
1
1
1
1
-½
-½
-½
-½
-½
-½
-½
-½
-½
-½
Laplacian prior
2

## Slide 8: Compare Penalty Functions
Images Priors Penalties
1
1
1
1
1
1
-½
-½
-½
-½
-½
-½
-½
-½
-½
-½
1
1
1
1
1
1
1
1
1
1
1
1
3
3
(A) (B)
1
3
More reasonable
Image A is more likely

## Slide 9: What about time?
…
…
0
-1
+2
+n
+1
-2
-n
past now future
=
Jacobian
…
Image sequence
Measurement
sequence
0
-1
+2
+n
+1
-2
past now future

## Slide 10: Temporal Reconstruction
Temporal Penalty Functions
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
likely
quite likely
unlikely
Standard EIT approaches to not take this into account

## Slide 11: Kalman Filtering
=
×
+ noise
=
×
+ process
now
prev.
step
Observation
Matrix (Jacobian)
State transition
Matrix

## Slide 12: Kalman Filtering
Two stage process
Prediction:
Estimate of now based
on old data only
Update:
K is Kalman gain:
  Need to update at each step
  Depends on

## Slide 13: Aside: Simulating movement
Simulating movement is really tricky
Simple solution is to choose different elements in a FEM
discrete elements make model not smooth

## Slide 14: Moving Ball in 16 electrode tank

## Slide 15: Electrode models
Refinement
at electrode
boundary
Need detailed electrode models to avoid geometry errors

## Slide 16: Reconstructed Movies
Netgen simulation of moving ball,
Using 100,000 elements per frame
Total simulation time =
3 days
Measurements of moving plexiglas rod
in saline tank
(thanks to IIRC)
Total model time =
60 seconds
Algorithm is regularized one-step Gauss-Newton using Laplace prior

## Slide 17: Reconstructed Movies
Netgen simulation of
moving ball,
(100,000 element FEM)
Simulation time = 3 days
Measurements of moving plexiglas rod in saline tank
(thanks to IIRC)
Measurement time = 60 sec

## Slide 18: Gauss-Newton vs. Kalman
Gauss-Newton solver
Solve time = 5.33 s
(with caching) = 0.22 s
Kalman solver
Solve time = 29.6 min
Data with added 0dB SNR noise

## Slide 19: Gauss-Newton vs. Kalman (0dB SNR)
Gauss-Newton solver
Solve time = 5.33 s
(with caching) = 0.22 s
Kalman solver
Solve time = 29.6 min

## Slide 20: We need a faster solver
We can improve on Kalman in two ways
We can go faster.
  Kalman calculates the temporal prior. We can directly tell the algorithm
Use future and past data
  Most EIT reconstruction is post-processing
  For online images, we can delay by a few frames (≈ 100ms)

## Slide 21: Direct temporal solver
…
…
0
-1
+2
+n
+1
-2
-n
=
Jacobian
…
Image sequence
Measurement
sequence
0
-1
+2
+n
+1
-2
Rewrite as …

## Slide 22: Direct temporal forward model
=
Augmented
Jacobian
Image
sequence
Measurement
sequence
×
0
0
-2
-1
0
+1
+2
-2
-1
0
+1
+2

## Slide 23: Direct temporal inverse model
×
0
0
–
Exp.
image
–
+
Time
Prior
2
2

## Slide 24: Temporal Priors
Exp.
image
–
Spatial
Prior
Spatial
Prior
Spatial
Prior
Spatial
Prior
Spatial
Prior
Time
Prior
∆t = 1
Time
Prior
∆t = 2
Time
Prior
∆t = 3
Time
Prior
∆t = 1
Time
Prior
∆t = 2
Time
Prior
∆t = 3
Time
Prior
∆t = 1
Time
Prior
∆t = 2
Time
Prior
∆t = 4
Time
Prior
∆t = 1
Time
Prior
∆t = 1
Time
Prior
∆t = 1
Time
Prior
∆t = 1
Time
Prior
∆t = 1
Time
Prior
∆t = 2
Time
Prior
∆t = 2
Time
Prior
∆t = 2
Time
Prior
∆t = 3
Time
Prior
∆t = 3
Time
Prior
∆t = 4

## Slide 25: One-step inverse
We formulate the one step inverse as:
Need to cut matrix afterward, we only want to estimate current image from data
Problem is size of matrix inverse:
For 2 time steps, we have 5 x num_elems square

## Slide 26: Underdetermined formulation
We formulate the one step inverse as:
Now matrix inverse is smaller:
For 2 time steps, we have 5 x num_meas square
R-1 and W-1 are modelled directly. No need to take the inverse

## Slide 27: GN vs. Temporal Inverse
Gauss-Newton solver
Solve time = 5.33 s
(with caching) = 0.22 s
Temporal solver
(4 time steps)
Solve time = 34.81 s
(with caching) = 0.60 s
Noise free data (IIRC tank)
Data with added 6dB SNR noise

## Slide 28: Gauss Newton vs. Temporal Inverse (6db SNR)
Gauss-Newton solver
Solve time = 5.33 s
(with caching) = 0.22 s
Temporal solver
(4 time steps)
Solve time = 34.81 s
(with caching) = 0.60 s

## Slide 29: Discussion
Temporal priors can improve EIT image quality
Temporal priors can be computationally efficient
  We’re also looking at efficient iterative implementations, allowing reconstruction of entire frame sequence simultaneously

## Slide 30: Work in progress: Sequential Stimulations
One common design for EIT equipment is parallel measurements with sequential current patterns
This means that the ‘image’ is different at each current pattern instant
We can formulate this

## Slide 31: Direct temporal forward model
=
Augmented
Jacobian
Image
sequence
Measurement
sequence
×

## Slide 32: Gauss Newton vs. Kalman
Gauss-Newton solver
Solve time = 5.33 s
(with caching) = 0.22 s
Temporal solver
(4 time steps)
Solve time = 34.81 s
(with caching) = 0.60 s
Noise free data (IIRC tank) – only one stimulation pattern kept for each sequence
Gauss Newton solver uses data from nearby frames

## Slide 33: Gauss Newton vs. Kalman (sequential – noise free)
Gauss-Newton solver
Solve time = 5.41 s
(with caching) = 0.38 s
Kalman solver
Solve time = 14.2 min